CT

- Image reconstruction from projections

- Steps of CT image formation – acquisition, reconstruction, image handling

- CT evolution – spiral, MDCT, Dual Source CT

- Applications of volume scanning

- CT screening applications

- PACS

- Why digitize images?

- CT number – windowing

- Format of the CT image – slice thickness, matrix, FOV

- Data flow in a CT scanner – sequence of events

- Advantages and limitations of CT

- Data acquisition concepts – Multislice – 5th – 6th 7th generation scanners – slip ring

- Image reconstruction – Algorithms (meaning) – types of data in CT (measurement, raw, convolved, image data)

- Image post processing and visualization tools

- Image Quality

- Radiation Dose

- MSCT – Isotropic Imaging